## Slide 1: LGWA payload and sensitivity
Speaker: Morgane Zeolii
Supervisors:
Joris van Heijningen
Christophe Collette
Contact: morgane.zeoli@uclouvain.be
H.J.M. ter Brake, O. Gerberding, S. Chalathadka Subrahmanya, J. Harms, X. Bian, A. Gatti, A. Bertolini, A. Perali, N. Pinto, M. Sharma, F. Tavernier & J. Rezvani
J.V van Heijningen +, 2023 arXiv:2301.13685v2

## Slide 2: Bridging the sensitivity gap between LISA and ET

## Slide 3: Mission outline

## Slide 4: Mission outline
1 of 4 seismic stations
lander/ central station
solar power and laser transmission

## Slide 5: What would we deploy in the < 40 K environment?
1
2
3
1. Inertial sensor development
2. Sorption cooling and thermal management
3. Seismometer leveling system

## Slide 6: Inertial sensor development
1

## Slide 7: Inertial sensor design baseline
suspension wire of MultiSAS
proof mass
frame
readout
Actu-ator
Requirements:
fm/√Hz sensitivity down to about 1Hz
Deployability
Low heat dissipation
Favourable electronic characteristics
J.V. van Heijningen +, 2018, IEEE SAS proc., pp 76-80

## Slide 8: Final result of the room temperature inertial sensor
J.V. van Heijningen +, 2018, IEEE SAS proc., pp 76-80
Measurement done on a seismically isolated optical table
Thermal noise not reached, but low Q expected due to (coil-magnet) actuator
An 8 fm/√Hz sensitivity above 30Hz, didn’t reach the goal
Need low-loss actuators and better proof-mass residual motion suppression

## Slide 9: Cm-scale interferometric readout
Polarizing optics
All light end up to the PDs so 41% less shot noise at same input power and less heat load
Differential signal
All common mode noises are decreased to shot noise level
Working point

## Slide 10: Low-loss actuation: superconductive actuators
Coil-magnet
Supercon-ducting coil
Cdt: Elvis Camilo Ferrera
Working principle
Actuation force applied on the proof-mass by magnetic pressure because of the Meissner effect
Suspension structurally damped
(no viscous damping due to eddy currents generated in the conductor by magnets)
Q ~ 104  decrease thermal noise!
Good sensitivity at low frequency
2. Verification by COMSOL simulations
1. Analytics
3. Superconductivity theory and testing with Andrea Perali and Filip Tavernier
Thin film strips for testing
superconductor
silicon substrate
alumnium pads

## Slide 11: Low-noise interferometer electronics
Collaboration with A. Gatti & F. Tavernier
JV van Heijningen +, NIM A 1041, 167231 (2022)
Custom 65nm-CMOS cryo-chip
Lower thermal noise
Lower leakage
Increased 1/f noise
  Limited by custom design
Higher turn-on voltage
Notes: What is turn on voltage?

## Slide 12: Cryogenic Supercondutive Inertial Sensor (CSIS)
Niobium proof-mass
(10kg)
Watt’s linkage
Superconductive actuator
Custom cryo-chip
JV van Heijningen, 2020, JINST 15 P06034
10 cm

## Slide 13: Sensitivity improvement
RT with single 🧲 actuator
RT with 🛡️🧲 actuator
Cryo niobium with 🌀 actuator
RIN/ freq./ shot noise
1kg-proof-mass prototype
Notes: Change plot

## Slide 14: Current status: Niobium proof-mass manufacturing
Two smaller test blocks with a compressed proof mass to test interfaces between milled holes and the spark-erosion cuts including the delicate flexures
pre-EDM
Now preparing other blocks with better cutting machine alignment and annealing, we expect better results
Block 1
Block 1
Block 2
Block 2
Preliminary results show some failed flexures, but adequate interfacing between holes and EDM cuts

## Slide 15: Alternative design: Silicon mechanics and SQUID read-out

## Slide 16: SQUID sensing and actuation
Moving superconductor
Inductance change of the coil-superconductor system
Current change
Connection to a second coil to convert the current change in a magnetic field change readable by a SQUID read-out
Sub fm/√Hz precision
Sandwich configuration for read-out (linarity) and actuation (push actuation)!
Actuation

## Slide 17: The design is not fixed!
Tuning coils
Superconducting actuators
Mechanics
Read-out
Monolithic Niobium
Silicon
Interferometric readout
superconductive readout & actuation

## Slide 18: Sensitivities
Niobium (Q=104) Watt’s linkage with interferometric readout
Silicon (Q=106) Watt’s linkage with superconductive readout
10kg proof mass

## Slide 19: How to test such sensor on Earth? E-TEST prototype
Active platform
Inertial control of the 6 degrees-of-freedom
Inverted pendulum
Passive horizontal vibration isolation
Geometric Anti-Spring filter
Passive vertical vibration isolation
Cold platform
Test bench for cryogenic superconductive interferometric inertial sensors (CSIS)
Suspended Cryostat
Radiatively cool the test mass to 20K
Test mass (Si mirror)
Seismic isolation
Cryogenic payload

## Slide 20: How to test such sensor on Earth? Gemini facility
LNGS, Italy
2 connected active platforms, one with cryogenic volume
Gran Sasso labs

## Slide 21: Sorption cooling and thermal management
2

## Slide 22: Cooling strategy
High-emissivity radiator
Heat-sink platform
Two-stage sorption-based Joule-Thompson cooler
Thermal compressor
Desorption
Sorber material Activated carbon
Working gas (H2 & He)
Expansion
Cooling
Heat
Sorption
Notes: Combination of two vibration-free cooling techniques: High emissivity radiator panel used to provide heat-sink platforms at temperatures 50K and 90K + Two-stages sorption-based Joule-Thompson cooler to cool further to 14,5K and 4,5K.
Working principle of thermal compressor (sorption).
Two-stages more efficient + pre-cooling
Gross-cooling power of 36mW and 4,5mW for a net input power of 6,1W
10kg

## Slide 23: Advantages and challenges
Advantages
No mechanical moving parts (except for passive valve)
Need to be leveled & to withstand launch loads!
Laser for the interferometer operates at room temperature
Long life-time (no wear)
Challenges
Physical link partially decoupled once on the moon
Decouple laser room temperature environment from cryogenic environment
Extremely low vibration level

## Slide 24: Seimometer leveling system
3

## Slide 25: Leveling system
Compensate for ground slope and keep seismometer platform aligned within a few microradians
No contact
Requirement < 30µrad
Platform similar to the one developed for the SEIS experiment of the Mars InSight mission
https://www.seis-insight.eu/en/public-2/seis-instrument/summary

## Slide 26: Thank you for your attention
Contact: morgane.zeoli@uclouvain.be

## Slide 27: Silicon Watt’s linkage
Si has low mechanical loss at cryo temperatures
Q ~ 106 (bulk 108)
EDM (electro-discharge machining)
Etched out of a 500µm thick wafer
hydro catalysis bounded

## Slide 28: Assembly procedure for silicon Watt’s linkage